| UNIVERSITY OF TECHNOLOGY AND EDUCATION HCM CITY FACULTY OF VEHICLE AND ENERGY ENGNEERING | Programme: Thermal engineering technology Level: Bachelor |
| --- | --- |

COURSE SYLLABUS

- Course name: Principles of Thermal Process Automation	       Course code: PTPA321632

- Credits:  2 (2/0/4) (2 theory credits, 0 practice credit and 4 self-study credits)

- Lecturers:

1/ Main lecturer: PhD. Le Minh Nhut

2/ Teaching Lecturer: M.E. Lai Hoai Nam

- Required courses

Required courses: no

Pre-requisite courses: Thermodynamics, Heat transfer, thermal measurement.

- Course description

The purpose of this course is to give undergraduate students a basic knowledge on the principles of thermal process automation in thermal systems. Besides, this course also give undergraduate students understand the operation principles of the control systems in the thermal systems such as boiler, thermal power plants, and air conditioning and so on..

- Course goals

| Goals | Course Objectives (The content of the course includes the academic knowledge:) | Programme ELOs |
| --- | --- | --- |
| G1 | Obtaining specialized knowledge in Thermal Engineering Technology such as: automatic control system for thermal processes, temperature control, pressure control, steam flow control, boiler control, control system in themal power plants.. | ELO 2, 3 |
| G2 | Analyzing, explaining and reasoning to solve Thermal engineering problems. | ELO 5 |
| G3 | Being able to lead and function in teams, being able to read thermal engineering materials in English | ELO 9,10 |
| G4 | Designing and calculating components of automatic control systems in thermal systems | ELO 12 |

- Expected learning outcomes

| Course objectives | Description (After studying this course, student will be able :) | ELOs |
| --- | --- | --- |
| G1 | G1.2 | Presenting the properties and kinetic functions of control objects | ELO 2 |
|  | G1.3 | Applying specialized knowledge in designing the automatic control systems in thermal systems. | ELO 3 |
| G2 | G2.1 | Analyzing, explaining and determining the characteristic parameters which need to be controlled in thermal systems. Presenting the operating principles of control processes in compressors, condensers, evaporators. | ELO 5 |
| G3 | G3.1 | Being able to work in team for discussing and solving the problems related automatic control in thermal systems | ELO 9 |
|  | G3.2 | Being able to use English term in the field of measurement in thermal system. | ELO 10 |
| G4 | G4.1 | Designing automatic control systems for thermal systems | ELO12 |

- Textbooks

- Textbooks:

1. Hung., H.D., Quoc., H.A., Hoa., L.X., Thermal measurements, Vietnam National University - Ho Chi Minh City Pulisher 2010.

2. Loi, N.D, automatic control in refrigeration systems, Education Pulisher 2000.

- Reference textbooks:

1. M. J. Grimble, Computer Systems for Automation and Control, Prentice Hall International Editions, 1995

2. Ben Jamin and C. Kuo, Automatic Control System,  Prentice Hall International Editions, 1995

9.Assessment:

- Grading Scale: 10

- Assesement plans:

| Assesement methods | Contents | Week | Assessment method | ELO | Percent (%) |
| --- | --- | --- | --- | --- | --- |
| Homework |  | 10 |
| Assignment #1 | Calculation and estimating of the transfer function of objects which are connected in parallel and series | Week 5 | Assignment (in class) | 2, 3 | 10 |
| Project |  | 10 |
| Project #1 | Every team desings a automatic control system for of refrigeration system | Week 6 | Assignment automatic control system for refrigeration system | 2, 3 | 10 |
| Essay - Report |  | 30 |
|  | Team selects one of the below topics (report and presentation): Automatic control system for refrigeration compressors Automatic control system for evaporators Automatic control system for condensers Automatic control system for steam boilers Automatic control system for drying systems Automatic control system for thermal power plants Automatic control system for solar heating systems Automatic control system for wind energy systems …… | Week 2-15 | Essay -report | 2,3,5 9, 10, 12 |  |
| Final exam |  |  | 50 |
|  | Content exam includes important ELOs in this course - Duration: 60 min |  | Written exam | 2,3,5 9, 10, 12 |  |

10. Course content:

| Week | Content | ELOs |
| --- | --- | --- |
|  | Chapter 1: Theory of automatic controls |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: Concepts The properties and kinetic functions of control processes Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): theory of automatic controls | 3 |
|  | Chapter 1: Theory of automatic controls (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 1.3 The properties and kinetic functions of control objects 1.4 The objects and kinetic characteristics of control systems Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic methods | 3 |
| 3 | Chapter 1: Theory of automatic controls (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 1.5 Stability of automatic control systems 1.6 Calculation of automatic control systems Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): quality of control systems | 3 |
| 4 | Chapter 2: Equipments of automatic controls |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 2.1 Generals 2.2 Ideal controllers 2.3 Industrial controllers Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): structures of controllers | 3 |
| 5 | Chapter 2: Equipments of automatic controls (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 2.4 Concept of direction controls 2.5 Pressure controllers according to proportional control 2.6 Pressure controllers according to integral control Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): pressure control in refrigeration systems | 3 |
| 6 | Chapter 2: Equipments of automatic controls (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 2.7 Concept of indirection controls 2.8 Electricity controllers 2.9 Pressure air controllers Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): mircoprocessing control in thermal systems | 3 |
| 7 | Chapter 3: Object control and basic rule of control |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 3.1 General 3.2 Proportional control 3.3 Integral control 3.4 Proportional-Integral control 3.5 Proportional-Integral-Derivative control Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): mircoprocessing control in refrigeration systems | 3 |
| 8 | Chapter 4: Automatic control systems in thermal systems |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 4.1 Concepts of Automatic control systems in boilers 4.2 Automatic control systems for combustion process in boilers 4.3 Automatic control systems for superheat steam Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for feed water of boilers | 3 |
| 9 | Chapter 4: Automatic control systems in thermal systems(conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 4.4 Concepts of automatic control systems in thermal power plants 4.4 Automatic control systems of flow steam in thermal power plants Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for reduced pressure of flow steam | 3 |
| 10 | Chapter 4: Automatic control systems in thermal systems(conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 4.6 Concepts of automatic control systems in drying systems 4.7 Humidity control of drying systems 4.8 Temperature control of drying systems Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for wood drying systems | 3 |
| 11 | Chapter 5: Automatic control systems in refrigeration systems |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 5.1 General 5.2 Clasification 5.3 Automatic control for refrigeration compressors Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control for capacity of piston compressors | 3 |
| 12 | Chapter 5: Automatic control systems in refrigeration systems(conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 5.4 Concepts of condensers 5.5 Automatic control systems for cooling water of condensers 5.6 Automatic control systems for cooling air of condensers Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for speed of fan | 3 |
| 13 | Chapter 5: Automatic control systems in refrigeration systems(conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 5.8 Concepts of evaporators 5.9 Automatic control systems for liquid supply of evaporators Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for liquid level in evaporators | 3 |
| 14 | Chapter 6: Automatic control systems in renewable energy systems |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 6.1 Concepts of solar heating systems 6.2 Automatic control systems for pump of collector loop 6.3 Automatic control systems for storage tanks Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): automatic control system for solar hot water | 3 |
| 15 | Chapter 6: Automatic control systems in renewable energy systems(conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 6.4 Concepts of wind energy 6.5 Automatic control systems for wind powers 6.6 Energy storage of wind powers Teaching methods: Presentation Dicussion Team working | 3, 12 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): Wind power in South Vietnam | 3 |

- Classroom rules of conduct:

Students must do home works and projects by themselves. Student will be received zero score If he (or she) violates study regulations or ethics.

- Approved date:

- Approvers:

| Dean | Head of department | Authors |
| --- | --- | --- |

- Syllabus update:

| Time #1: Upgraded issues: date/month/year | <updating authors> Head of Department |
| --- | --- |