| UNIVERSITY OF TECHNOLOGY AND EDUCATION HCM CITY FACULTY OF VEHICLE AND ENERGY ENGNEERING | Programme: Thermal engineering technology Level: Bachelor |
| --- | --- |

COURSE SYLLABUS

- Course name: Thermal Measurement	Course code: THME221432

- Credits:  2 (2/0/4) (2 theory credits, 0 practice credit and 4 self-study credits)

- Lecturers:

1/ Main lecturer: PhD. Le Minh Nhut

2/ Teaching Lecturers: Assoc. Professor. Hoang An Quoc

- Required courses

Required courses: no

Pre-requisite courses: Thermodynamics, Heat transfer

- Course Description

The purpose of this course is to give undergraduate students a basic knowledge on the measurements and instrumentations in heat engineering, the structure and the operating principles of instrumentations such as thermocouples, resistance thermometers..and so on. Besides, this course also give undergraduate students the skills to use the instrumentations and installation location on the thermal system.

- Course goals

| Goals | Course Objectives (The content of the course includes the academic knowledge:) | ELOs |
| --- | --- | --- |
| G1 | Obtaining specialized knowledge in Thermal Engineering Technology such as: structure of instrumentations, | 2 |
| G2 | Analyzing, explaining and reasoning to solve Thermal engineering problems. Selection and installation instrumentations in the thermal system. | 3, 5 |

- Expected learning outcomes

| Course objectives | Description (After studying this course, student will be able :) | ELOs |
| --- | --- | --- |
| G1 | G1.1 | Presenting the characteristic parameters of instrumentations. | 2 |
|  | G1.2 | Operating principles of instrumentations such as: thermocouples, pressure measurements, flow measurements.... | 3 |
| G2 | G2.1 | Analyzing, explaining and selection the types of measurements for thermal system | 5 |

- Textbooks

- Textbook:

1. Hung., H.D., Quoc., H.A., Hoa., L.X., Thermal measurements, Vietnam National University - Ho Chi Minh City Pulisher 2010.

2. Hoan., H.V., Thermal measurements, Education Pulisher, 2013.

- Reference textbooks:

1. Morris., A.S., Measurement & Instrumentation Principles, Butter worth-Heinemann, Exford 2001

2. Ernst r.g.  Eckert and Richard J. Goldstein, Thermal Measurement in Heat Transfer, Technivision Services Slough, England, 1970

- Assessment:

- Grading Scale: 10

- Assesement plans:

| Assesement methods | Contents | Week | Assessment tool | ELO | Percent (%) |
| --- | --- | --- | --- | --- | --- |
| Homework |  | 10 |
| Assignment #1 | Calculating the thermocouples and the characteristic parameters of pressure measurements, flow measurements.. | Week 5 | Assignment (in class) | 2 | 5 |
| Assignment #2 | Determining the installation position of instrumentation in thermal system | Week 7 | Assignment (in class) | 3 | 5 |
| Project |  | 10 |
| Project | Determining the installation position of instrumentation in real thermal system | Week 8 | Assess on real thermal system | 5 | 10 |
| Essay - Report |  | 30 |
|  | Team selects one of the below topics (report and presentation): Temperature measurement Pressure measurement Flow measurement Velocity measurement Level measurement Humidity measurement Radiation measurement ------------- | Tuần 2-15 | Tiểu luận - Báo cáo | 2,3, 5 |  |
| Final exam |  |  | 50 |
|  | Content exam includes important ELOs in this course - Duration: 70 min |  | Written exam | 2,3, 5 |  |

10. Course content::

| Week | Content | ELOs |
| --- | --- | --- |
|  | Chapter 1: Introduction to measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: Definition and measurement classification Instrumentation classification Parameters of gauge Measurement errors Teaching methods: Presentation Dicussion Team working | 2 |
|  | Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): measurement units | 2 |
|  | Chapter 1: Introduction to measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 1.5 Structure of instrumentations 1.6 Assessment of instrumentation Teaching methods: Presentation Dicussion Team working | 2 |
|  | B/ Contents for seft-study at home: (4) Accuracy and inaccuracy of instruments | 2 |
| 3 | Chapter 2: Temperature Measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 2.1 Principles of temperature measurements 2.2 Thermometer classifications 2.3 Liquid-in-glass thermometers 2.4 Thermocouples Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Calculating thermoelectric of thermocouples | 2,3 |
| 4 | Chapter 2: Temperature Measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 2.5 Resistance thermometers 2.6 Measurement method of resistance thermometers 2.7 Sensor installation method of resistance thermometers Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Find out on internet about indirect temperature measurement method | 2,3 |
| 5 | Chapter 3: Pressure measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 3.1 Definition and pressure units 3.2 Liquid manometers. Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Find out on internet about Pittong manometers | 2,3 |
| 6 | Chapter 3: Pressure measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 3.3 Special measurement devices for low pressures 3.4 High-pressure measurement Teaching methods: Presentation Dicussion Team working | 2,3 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): selection of pressure sensors | 2,3 |
| 7 | Chapter 4: Flow measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 4.1 Definition and flow units 4.2 Point Velocity measurement 4.3 Volume flow rate measurement Teaching methods: Presentation Dicussion Team working | 2,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): electromagnetic flowmeters | 2,5 |
| 8 | Chapter 4: Flow measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 4.4 Diferential pressure meters 4.5 Variable area flowmeters Teaching methods: Presentation Dicussion Team working | 2,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): intelligent flowmeters | 2,5 |
| 9 | Chapter 5: Level measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 5.1 General 5.2 Float systems Teaching methods: Presentation Dicussion Team working | 2,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): solid level measurement | 2,5 |
| 10 | Chapter 5: Level measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 5.3 Ultrasonic level gauge, radar(microwave) methods 5.4 Other level measuremints Teaching methods: Presentation Dicussion Team working | 2,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): laser methods | 2,5 |
| 11 | Chapter 6: Moisture measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 6.1 General 6.2 Moisture measurement methods Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): Laboratory techniques for moisture measurement | 2, 3,5 |
| 12 | Chapter 6: Moisture measurement (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 6.3 Industrial moisture measurement techniques 6.4 Using scope of hygrometers Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): humidity measurement | 2,3,5 |
| 13 | Chapter 7: Gas analysis and analyzers |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 7.1 Genaral 7.2 Chemical gas analyzers 7.3 Thermal gas analyzers Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): analyzers for exhaust smoke of boilers | 2,3,5 |
| 14 | Chapter 7: Gas analysis and analyzers (conti..) |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 7.5 Magnetic gas analyzers 7.6 Optical gas analyzers Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (4) Searching and reading the related materials(books or Internet.): Gas chromatographs | 2,3,5 |
| 15 | Chapter 8: Solar radiation measurement |  |
|  | A/ Contents and teaching methods in class: (2) Theory teaching contents: 8.1 Genaral 8.2 Pyranometer and pyrheliometer Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (4) Practice using pyranometer | 2,3,5 |

- Classroom rules of conduct:

Students must do home works and projects by themselves. Student will be received zero score If he (or she) violates study regulations or ethics.

- Approved date:

- Approvers:

| Dean | Head of department | Authors |
| --- | --- | --- |

- Syllabus update:

| Time #1: Upgraded issues: date/month/year | <updating authors> Head of Department |
| --- | --- |