| UNIVERSITY OF TECHNOLOGY AND EDUCATION HCM CITY FACULTY OF VEHICLE AND ENERGY ENGNEERING | Programme: Thermal engineering technology Level: Bachelor |
| --- | --- |

COURSE SYLLABUS

- Course name: Thermal power plants	Course code: THPP341032

- Credits:  4 (4/0/8) (4 theory credits, 0 practice credit and 8 self-study credits)

- Lecturers:

1/ Main lecturer: PhD. Le Minh Nhut

2/ Teaching Lecturers: Assoc. Professor. Hoang An Quoc

- Required courses

Required courses: no

Pre-requisite courses: Thermodynamics, Heat transfer, boilers.

- Course Description

The purpose of this course is to give undergraduate students a knowledge on the energy and primary fuels, the basic operating principles of the steam turbine - gas turbine power plants, the main equipments of thermal power plants such as boilers, steam turbine and gas turbine, heat exchangers, economisers, superheaters, air preheaters. The course also presents the methods to calculate the thermal efficient of thermal power plants, analysis of steam cycles and gas cycles, the effect of exhaust smoke of thermal power plants to the environment, operation and maintenance of thermal power plants.

- Course Goals

| Goals | Course Objectives (The content of the course includes the academic knowledge:) | ELOs |
| --- | --- | --- |
| G1 | Obtaining specialized knowledge in Thermal Engineering Technology such as: operating principles of thermal power plants, the main equipments of thermal power plants such as boilers, steam turbine and gas turbine, heat exchangers, economisers, superheaters air preheaters.. | 2,3 |
| G2 | Analyzing, explaining and reasoning to solve Thermal engineering problems. | 5 ,7 |
| G3 | Being able to lead and function in teams, being able to read thermal engineering materials in English | 9 |
| G4 | Designing and calculating components and systems in thermal power plants | 4, 11-14 |

- Expected learning outcomes

| Course objectives | Description (After studying this course, student will be able :) | ELOs |
| --- | --- | --- |
| G1 | G1.1 | Presenting the operating principle of main equipments of thermal power plants such as steam turbine, gas turbine, heat exchangers, economisers, superheaters air preheaters.... | 2 |
|  | G1.2 | Applying knowledge about operating principles of Rankine cycle, Brayton cycle… to calculate some operating parameters of thermal power plants | 3 |
| G2 | G2.1 | Analyzing, explaining characteristic parameters that affect the operation of thermal power plants | 5 |
|  | G2.2 | Diagnostic monitoring and informative support for turbine operations of thermal power plants | 7 |
| G3 | G3.1 | Being able to work in team for discussing and solving the problems related thermal power plants | 9 |
| G4 | G 4.1 | Calculating and designing for thermal power plants | 11,12 |
|  | G 4.2 | Operating for thermal power plants | 4, 13,14 |

- Textbooks

- Textbook:

1. Tuyen.,N.V, Steam turbine&gas turbine, Vietnam National University - Ho Chi Minh City Pulisher 2007.

2. Han.,N.N., Trung., N.Q, Tuan.,D.A. Thermal power plant, Science & Engineering Pulisher, 2002.

- Reference textbooks:

1. Dong.,H.N., Xung., P.Q. Power plant engineering, Science & Engineering Pulisher, 2002.

2. Nag P.K, Power Plant Engineering, second Ed 2001.

3. Everett B, et al., Steam plant operation, Eighth Ed 2001.

4. Richar T, Harman C, Gas Turbine Engineering, New York 1981.

- Assessment:

- Grading Scale: 10

- Assesement plans:

| Assesement methods | Contents | Week | Assessment method | ELO | Percent (%) |
| --- | --- | --- | --- | --- | --- |
| Homework |  | 10 |
| Assignment #1 | Determining characteristic components of thermal power plant in English term. Analyzing characteristic parameters that affect the operation of thermal power plants | Week 3,4 | Assignment (in class) | 2,3,5 | 5 |
| Assignment #2 | Calculating the thermal efficiency of Rankine cycle, Brayton cyccle, combined cycle power generation | Week 5,6 | Assignment (in class) | 7,9,11,12 | 5 |
| Project |  | 10 |
| Project | Preliminary designing a thermal power plants | Week 7,8 | Solution Assignment | 4,13,14 | 10 |
| Essay - Report |  | 30 |
|  | Team selects one of the below topics (report and presentation): Energy and energy sources Thermal popwer plants in south Vietnam Effect steam flow on thermal efficiency of steam power plants Steam losses in steam power plants Water treatment for steam power plants. Solar power plants Wind power plants Gas power plants ……………………………… | Week 2-15 | Essay -report | 2,3,4,5, 7,9 11-14 |  |
| Final exam |  |  | 50 |
|  | Content exam includes important ELOs in this course - Duration: 70 min |  | Written exam | 2,3,4,5, 7,9 11-14 |  |

- Course content:

| Week | Content | ELOs |
| --- | --- | --- |
|  | Chapter 1: Fundamental of thermal power plants |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: Introduction Electricity production in the World and Vietnam Energy demands and load-duration curves Solutions to improve energy efficiecy Teaching methods: Presentation Dicussion Team working | 2 |
|  | B/ Contents for seft-study at home: (8) Searching and reading the related materials(books or Internet.): thermal power plants in south Vietnam | 2 |
|  | Chapter 2: Operating principles and main equipments of thermal power plants |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 2.1 Classification of thermal power plants 2.2 Operating principle of thermal power plants 2.3 Energy parameters of thermal power plants Teaching methods: Presentation Dicussion Team working | 2,3,5 |
|  | B/ Contents for seft-study at home: (8) Solutions improving the efficiecy of energy utilizing | 5 |
| 3 | Chapter 2: Operating principles and main equipments of thermal power plants(conti…) |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 2.4 Steam consumption, thermal consumption and fuel consumption 2.5 Parameters affect on thermal efficiency of cycle 2.6 Combined steam turbine-gas turbine power plants. 2.7 Thermal load and electricity load Teaching methods: Presentation Dicussion Team working | 2,3,5,12 |
|  | B/ Contents for seft-study at home: (8) Calculating thermal efficiency of steam power plant with steam turbine have one extraction. | 12 |
| 4 | Chapter 3: Steam turbines |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 3.1 Concept, operation principle of steam turbine 3.2 Equation of the moving of steam flow 3.3 Structures of steam turbine 3.4 Configuration of steam turbine 3.5 Energy losses and efficiency of turbine staging Teaching methods: Presentation Dicussion Team working | 5,7 |
|  | B/ Contents for seft-study at home: (8) Searching and reading the related materials(books or Internet.): Steam turbine. | 7 |
| 5 | Chapter 4: Multi-stage steam turbine |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 4.1 Operating principle of multi-stage steam turbine 4.2 Advantage and disadvantage of multi-stage steam turbine 4.3 Heat losses and energy losses of multi-stage steam turbine 4.5 Shaft along force of multi-stage steam turbine Teaching methods: Presentation Dicussion Team working | 2,3,5,9 |
|  | B/ Contents for seft-study at home: (8) Wearing of the blades of multi-stage steam turbine | 9,13 |
| 6 | Chapter 5: Turbine governing and control |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 5.1 Control concept for steam turbine 5.2 Steam distribution solutions for steam turbine 5.3 Directly control method 5.4 Indirectly control method Teaching methods: Presentation Dicussion Team working | 5,7,9,11 |
|  | B/ Contents for seft-study at home: (8) Control methods for modern steam turbine | 9,11 |
| 7 | Chapter 6: Auxiliary equipments of thermal power plants |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 6.1Oil system of thermal power plants 6.2 Condensers 6.3 Ejectors 6.4 Feed water, circulation water Teaching methods: Presentation Dicussion Team working | 3,5,9,11 |
|  | B/ Contents for seft-study at home: (8) Find out on internet about economizers, superheaters, airheaters | 9,11 |
| 8,9 | Chapter 7: Gas power plants |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 7.1 Operating principle and clasification of gas power plants 7.2 Brayton cycle 7.3 Efficiency Improving for gas power plants 7.4 Real Brayton cycle Teaching methods: Presentation Dicussion Team working | 11-13 |
|  | B/ Contents for seft-study at home: (8) Calculating thermal efficiency of real Brayton cycle | 11-13 |
| 10,11 | Chapter 7: Gas power plants (conti…) |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 7.5 Fuels for gas power plants 7.6 Compressors 7.7 Combustor 7.8 Gas turbine 7.9 Gas turbine control Teaching methods: Presentation Dicussion Team working | 3,5,7,11 |
|  | B/ Contents for seft-study at home: (8) Searching and reading the related materials: books or Internet | 11 |
| 12.13 | Chapter 8: Thermal power plants for electricity-thermal production |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 8.1 Double flow turbine 8.2 One extraction turbine 8.3 Two extraction turbine 8.4 Turbine for electricity-thermal production Teaching methods: Presentation Dicussion Team working | 11,13,14 |
|  | B/ Contents for seft-study at home: (8) Searching and reading the related materials: books or Internet | 11,13,14 |
| 14,15 | Chương 9: Operations and maintenances |  |
|  | A/ Contents and teaching methods in class: (4) Theory teaching contents: 10.1 Start-up instructions for steam-gas turbine. 10.2 Start-up, operation monitoring and shut-off turbine 10.3 Operations of auxiliary equipments of thermal power plants 10.4 Maintenance performance 10.5 Air pollutions in thermal power plants Teaching methods: Presentation Dicussion Team working | 13,14 |
|  | B/ Contents for seft-study at home: (8) Find out about the operation of thermal power plants in south of Vietnam | 14 |

- Classroom rules of conduct:

Students must do home works and projects by themselves. Student will be received zero score If he (or she) violates study regulations or ethics.

- Approved date:

- Approvers:

| Dean | Head of department | Authors |
| --- | --- | --- |

- Syllabus update:

| Time #1: Upgraded issues: date/month/year | <updating authors> Head of Department |
| --- | --- |