| UNIVERSITY OF TECHNOLOGY AND EDUCATION HCM CITY FACULTY OF VEHICLE AND ENERGY ENGNEERING | Program: Thermal Engineering Technology Level: Bachelor |
| --- | --- |

COURSE SYLLABUS

- Course name: Steam Boiler	Course code: BOIL330632

- Credits:  3 (3/0/6) (3 theory credits, 0 practice credit)

- Lecturers:

1/ Main lecturer: Assoc. Prof. Dr. Dang Thanh Trung

2/ Teaching Lecturers:  Le Minh Nhut, PhD; MSc., Lai Hoai Nam

- Required course

Required courses: no

Pre-courses: Thermodynamics and Heat transfer

- Course Description

The course shows knowledge about the concept, structure, principles of operation and design of boiler parts; This course also helps students to catch the phenomena occurred in the boiler. This is one of the specialized courses in the curriculum.

- Course Goals

| Goals | Course Objectives (The content of the course includes the academic knowledge:) | ELOs |
| --- | --- | --- |
| G1 | Speciazed knowledge about the concept, structure, operating principle, and design of boiler parts | ELO 2, ELO 3 |
| G2 | Being able to think systematically; explaining and reasoning to solve boiler problems | ELO 5, ELO 7 |
| G3 | Being able to lead, function, and communicate in teams | ELO 9 |
| G4 | Writing for conceiving, designing, implementing, and operating of a boiler | ELO 11-14 |

- Expected learning outcomes

| Course objectives | Description (After studying this course, student will be able :) | ELOs |
| --- | --- | --- |
| G1 | G1.1 | Reviewing knowledge in heat transfer and fluid flow | ELO 2 |
|  | G1.2 | Showing the structure and operating principle of boiler parts Calculating and designing boiler parts Reviewing boiler maintenance and repair | ELO 3 |
| G2 | G2.1 | Analyzing, explaining and reasoning on heat transfer phenomena in a boiler | ELO 5 |
|  | G2.2 | Reviewing critically and systematically about boiler problems | ELO 7 |
| G3 | G3.1 | Applying work in team and communication for discussing and solving the problems related boilers | ELO 9 |
| G4 | G4.1 | Writing for conceiving ideas of a boiler or boiler parts | ELO 11 |
|  | G4.2 | Calculating and designing for a boiler or boiler parts | ELO 12 |
|  | G4.3 | Collecting for installing of a boiler or boiler parts | ELO 13 |
|  | G4.4 | Operating for a boiler or boiler parts | ELO 14 |

- Texbooks

- Texbooks:

[1] Dang Thanh Trung, Boiler, VNU-HCM Publishing House, Jan, 2013

- Reference books:

[2] Kumar Rayaprolu, Boilers for power and process, CRC Press Taylor & Francis, 2009

[3] V. Ganapathy, Industrial boilers and heat recovery steam generators: Design, applications and calculations, Mrcel Dekker, Inc., 2003

[4] Ryszard Bartnik and Zbigniew Buryn, Conversion of coal – fired power plants to cogeneration and conbined – cycle, Spinger – Verlag London Limited, 2011

[5] Prof. Nguyen Si Mao, Boiler – Parts 1 and 2, Science and Technics Publishing House 2006

- Assessment:

- Grading Scale: 10

- Assesement plans:

| Assesement method | Content | Week | Assessment tool | ELO | Percent (%) |
| --- | --- | --- | --- | --- | --- |
| Attendant class |  | 10 |
| Taking roll call | Taking roll call on the name list | 15 weeks | Name list |  | 10 |
| Problems/Quizs |  | 40 |
| Problem 1 | Boiler development Fuels and combustion theory in a boiler | Week 4 | Review tools/ Rubrics | 2, 3, 5, 7 | 10 |
| Problem 2 | Actual air volume, Combustion products and Excess air coefficient | Week 6 | Review tools/ Rubrics | 2, 3, 5, 7 | 10 |
| Problem 3 | Boiler efficiency Boiler calculation and design | Week 10 | Review tools/ Rubrics | 2, 3, 5, 7, 11-14 | 10 |
| Problem 4 | Boiler strength calculation Boiler operation Overview test | Week 12 | Review tools/ Rubrics | 2, 3, 5, 7, 11-14 | 10 |
| Project/Report |  | 50 |
| Oral presentation | Team selects one of topics (Boiler development; Fuels and combustion theory in a boiler; Combustion products; Boiler Efficiency; Boiler calculation and design; Boiler strength calculation; Boiler operation; water treatment for boiler) and presents | Week 15 | Audit tools Rubrics | 2, 3, 5, 7, 9, 11-149 | 25 |
| Writing report | Team revises the above report based on comments from teachers and other students and then hand in | Week 16 | Audit tools Rubrics | 2, 3, 5, 7, 9, 11-14 | 25 |

- Course content:

| Week | Content | ELOs |
| --- | --- | --- |
| 1-2 | Chapter 1: Overview <6/0/12> |  |
|  | A/ Contents and teaching methods in class: (6) Theory teaching contents: + Boiler + Types of boilers + Basic specification of boiler + Development process of boiler + Boiler applications Teaching methods: Presentation Dicussion Team working | 3, 5, 7 |
|  | B/ Contents for seft-study at home: (12) Searching and reviewing the related materials: water tube boiler, fire tube boiler, coal combustion boiler, rice husk combustion boiler Finding 10 boiler applications on internet. | 3, 5, 7 |
| 3-4 | Chapter 2: Fuels and Combustion Process <6/0/12> |  |
|  | A/ Contents and teaching methods in class: (6) Theory teaching contents: + Concept + The chemical component of fuel + Heating value of fuel + Conventional fuel and reference behaviors + Theoretical basis of combustion Teaching methods: Presentation Dicussion Team working | 3, 5, 7 |
|  | B/ Contents for seft-study at home: (12) Reviewing the chemical component and heating value of fuels; reading numerical and experimental studies on combustion theory Solving three problems about the chemical component and heating value of fuels | 3, 5, 7 |
| 5-6 | Chapter 3: Combustion products <6/0/12> |  |
|  | A/ Contents and teaching methods in class: (6) Theory teaching contents: + Theoretical air volume + Theoretical combustion products + Actual air volume + Actual combustion volume + Leak air + Complete and incomplete combustion + Enthalpy of combustion products + Determining excess air coefficient Teaching methods: Presentation Dicussion Team working | 3, 5, 7 |
|  | B/ Contents for seft-study at home: (12) Reviewing studies on volume, excess air, and entalpy of fuels Solving three problems about combustion products | 3, 5, 7 |
| 7-9 | Chapter 4: Boiler efficiency <9/0/18> |  |
|  | A/ Contents and teaching methods in class: (9) Theory teaching contents: + Heat balance equation + Heat losses + The ability to utilize waste heat Teaching methods: Presentation Dicussion Team working | 2, 3, 5, 7 |
|  | B/ Contents for seft-study at home: (18) Reviewing heat recovery in boiler | 3, 5, 7 |
| 10-12 | Chapter 5: Heating calculation for boilers <9/0/18> |  |
|  | A/ Contents and teaching methods in class: (9) Theory teaching contents: + Heat transfer surface of boilers + Heating calculation for boilers Teaching methods: Presentation Dicussion Team working | 2, 3, 5, 7 |
|  | B/ Contents for seft-study at home: (18) Computing an economizer and an air heater | 3, 5, 7 |
| 13 | Chapter 6: Boiler strength calculation <3/0/6> |  |
|  | A/ Contents and teaching methods in class: (3) Theory teaching contents: + Allowable stress of metal in boiler + Strength calculation for boiler parts + Strength calculation for the curve bottom of boiler + Strength calculation for outside pressure parts Teaching methods: Presentation Dicussion Team working | 3, 5, 7 |
|  | B/ Contents for seft-study at home: (6) Reading boiler safety and verification, ethics of verifier Reviewing studies on boiler strength calculation | 3, 5, 7 |
| 14 | Chapter 7: Boiler operation <3/0/6> |  |
|  | A/ Contents and teaching methods in class: (3) Theory teaching contents: + Start up boiler + Boiler operation + Stop boiler Teaching methods: Presentation Dicussion Team working | 3, 5, 7 |
|  | B/ Contents for seft-study at home: (6) Reviewing boiler maintenance and repair Reading water treatments for boiler | 3, 5, 7 |
| 15 | Teams perform their oral presentations | 9, 11-14 |

- Classroom rules of conduct:

Students must do problems, home works, and projects by themselves. Student will be received zero score if he (or she) violates study regulations or ethics.

- Approved date:

- Approvers:

| Dean | Head of department | Authors |
| --- | --- | --- |

- Syllabus update:

| Time #1: Upgraded issues: date/month/year | <updating authors> Head of Department |
| --- | --- |